## Content
Exercise 1: Mapping of heat demand and resource potentials Exercise 2: Calculation of decentral heat supply costs
Authors: | Max Guddat, Marcus Hummel, Schmidinger David, Magda Kowalska
Contact: | mgag@planenergi.dk
Date: | 2020-02-19
Revisions: | 27-03-2020; 14-04-2020; 28-04-20; 19-06-20
Aim: | Spread sheet of input and output for the Calculation Modules Exercises.
Target group: | Public authority, planners and consultants in the field of heating and cooling
Colour coding: |  | Fields to be filled out. PLEASE EDIT ONLY THESE FIELDS.
Input parameters to be changed in the default/previous scenario
Values to be copied in another spread sheet as input data
| Instructions | Instructions on where to paste results or which figures to copy for later elaborations
Intermediate calculations or default data. DO NOT EDIT!
Hints: | Please use point as decimal separator (f. ex. 40.50)
This project has received funding from the European Union's Horizon 2020 research and innovation programme under grant agreement No. 723677

## 1.3 Climatic indicators
Climatic Indicators.
Mapping ¦ 1.3 - Climatic indicators
OUTPUT DATA
| HDD | CDD
| (heating degree days) | (cooling degree days)
Average
Maximum
Minimum

## 1.5 Heating and cooling demand
Heating and cooling mapping.
Mapping ¦ 1.5 - Heating and cooling demand
OUTPUT DATA
| Unit | Selection 1:
NUTS/LAU
Heat demand total (HEAT DENSITY TOTAL) | GWh/yr
Heat demand total (HEAT DENSITY RESIDENTIAL) | GWh/yr
Heat demand total (HEAT DENSITY NON- RESIDENTIAL) | GWh/yr
Theoretical cooling needs total (COOLING DENSITY) | GWh/yr
Total population (POPULATION) | Pers.
Heat demand per person (HEAT DENSITY TOTAL) | MWh/pers.*yr
Theoretical cooling needs per person (COOLING DENSITY) | MWh/pers.*yr
Gross Floor Area (TOTAL) | m2
Gross Floor Area (RESIDENTIAL) | m2
Gross Floor Area (NON-RESIDENTIAL) | m2
Average heat density (HEAT DENSITY TOTAL) | kWh/m2 | -
Average cooling density (COOLING DENSITY) | kWh/m2 | -

## 1.6 Compare heat demand
Compare heat demand with two other cities.
Mapping ¦ 1.6 - Compare heat demand with two other cities
OUTPUT DATA
| Unit | [City in training exercise] | [City A]
Heat demand total (HEAT DENSITY TOTAL) | GWh/yr
Heat demand total (HEAT DENSITY RESIDENTIAL) | GWh/yr
Heat demand total (HEAT DENSITY NON- RESIDENTIAL) | GWh/yr
Gross Floor Area (TOTAL) | m2
Gross Floor Area (RESIDENTIAL) | m2
Average heat density (HEAT DENSITY TOTAL) | kWh/m2 | - | -

## 1.9 Available RES potentials
Mapping of RES potentials.
Mapping ¦ 1.9 - Available RES potentials
OUTPUT DATA
Potential | Unit | Max. Resolution (NUTS, LAU)[1] | Figure | Of which realistically exploitable
|  |  |  | [%] | [abs.]
Waste Water Treatment Plants (POWER) | MW | Points |  |  | 0
Waste Water Treatment Plants (CAPACITY) | PE | Points |  |  | 0
Agricultural Residues | GWh/yr | NUTS3 |  |  | 0
Forest residues | Avg. MWh/ha/yr | NUTS3, disagg. |  |  | 0
| GWh/yr | NUTS3, disagg. |  |  | 0
Wind potential at 50 meters | Avg. speed m/s | Raster |  |  | 0
Solar radiation on building footprint (Average) | kWh/(m²*yr) | ha |  |  | 0
Geothermal potential heat conductivity | Avg. W/mK | NUTS3 |  |  | 0
Total solar thermal potential - Rooftop | GWh/yr | ha |  |  | 0
Total solar thermal potential - Open Field | GWh/yr | ha |  |  | 0
[1] The max Resolution in which data is accessible:
- Points: Data for given sites (e.g. Waste Water Treatment Plants – the site needs to be within the area of selection)
- NUTS3: Data for the NUTS3-region(s) covered by your area selection
- NUTS3, disagg.: Data for the NUTS3-region, disaggregated to ha-resolution – the sum of ha in a NUTS3-region aggregate to the NUTS3-region total for a given potential
- ha: Data on hectare-level

## 1.10 Excess heat potentials
Mapping of excess heat potentials.
Mapping ¦ 1.10 - Identify excess heat from conventional sources
OUTPUT DATA
Potential | Unit | Figure
CO2-emissions of energy intensive industries | t/yr
Excess heat potential [100°C - 200°C] | GWh/yr
Excess heat potential [200°C - 500°C] | GWh/yr
Excess heat potential [>500°C] | GWh/yr
Total Excess Heat Potential of Energy-intensive industries | GWh/yr

## 2.1 Demand projection
Projecting future demand reduction or increase, based on impact of renovation and building demolishment.
|  | 1.1 | Run | A | B
CM ¦ 2.1 Demand projection
INPUT DATA
| Parameter | Unit | Default data | Run 1,1 A | Run 1,1 B
INPUTS | Select scenario |  | ambitious | reference | reference
| Select target year | - | 2020 | 2050 | 2050
| Reduction of floor area compared to reference scenario: Constr. period before 1977 | % | 100 | 100 | 100
| Reduction of floor area compared to reference scenario: Constr. period 1977-1990 | % | 100 | 100 | 100
| Reduction of floor area compared to reference scenario: Constr. period after 1990 | % | 100 | 100 | 100
| Reduction of specific energy needs compared to reference scenario: Constr. period before 1977 | % | 100 | 25 | 200
| Reduction of specific energy needs compared to reference scenario: Constr. period 1977-1990 | % | 100 | 25 | 200
| Reduction of specific energy needs compared to reference scenario: Constr. period after 1990 | % | 100 | 25 | 200
| Method to add newly constructed buildings to map |  | No new buildings | No new buildings | No new buildings
INPUT TYPE SELECTION | Type: country_id_number |  | country_id_number | country_id_number | country_id_number
| Type: nuts_id_number |  | nuts_id_number | nuts_id_number | nuts_id_number
| Type: lau2_id_number |  | lau2_id_number | lau2_id_number | lau2_id_number
| gfa_res_curr_density |  | gfa_res_curr_density | gfa_res_curr_density | gfa_res_curr_density
| gfa_nonres_curr_density |  | gfa_nonres_curr_density | gfa_nonres_curr_density | gfa_nonres_curr_density
| heat_res_curr_density |  | heat_res_curr_density | heat_res_curr_density | heat_res_curr_density
| heat_nonres_curr_density |  | heat_nonres_curr_density | heat_nonres_curr_density | heat_nonres_curr_density
| ghs_built_1975_100_share |  | ghs_built_1975_100_share | ghs_built_1975_100_share | ghs_built_1975_100_share
| ghs_built_1990_100_share |  | ghs_built_1990_100_share | ghs_built_1990_100_share | ghs_built_1990_100_share
| ghs_built_2000_100_share |  | ghs_built_2000_100_share | ghs_built_2000_100_share | ghs_built_2000_100_share
| ghs_built_2014_100_share |  | ghs_built_2014_100_share | ghs_built_2014_100_share | ghs_built_2014_100_share
| RESULTS_BUILDING_FOOTPRINT |  | RESULTS_BUILDING_FOOTPRINT | RESULTS_BUILDING_FOOTPRINT | RESULTS_BUILDING_FOOTPRINT
OUTPUT DATA
Please download the corresponding maps rename them with the indicated layer name and reload them. They are used as input files for some of the next calculation modules.
CM - Demand projection |  |  | in 2014 | in 2050 | in 2050
| Energy consumption | GWh/yr
| Heated area | Mio. m2
CM - Demand projection - Layer name |  |  |  | Run 1,1 A | Run 1,1 B
| Heat density total - Heat Demand Total | GWh/yr |  | hdm_25.tif | hdm_200.tif
| Gross floor area total | m2 |  | gfa_25.tif | gfa_200.tif

## 2.2.1 Decentral heating supply
Calculating cost of individual heating technologies based on a mixture of Single family buildings.
|  |  | Run | 1.3 | A | B
CM ¦ 2.2.1 Decentral heating supply
INPUT DATA
| Parameter | Subparameter | Unit | Default data | Run 1,3 A | Run 1,3 B
INPUTS | Building age |  |  | Before 1945 | 1970 - 1979 | 2000 - 2010
| interest rate |  | 1 | 0.03 | 0.03 | 0.03
| Gross Floor Area |  | m² | 1000 | 131 | 173
| Building category |  |  | Multifamily houses | Single family- Terraced houses | Single family- Terraced houses
| year |  |  | 2015 | 2050 | 2050
| savings for space heating |  |  | 0 | 0.3 | 0.3
BASIC INPUTS | emission factor - Electricity |  |  | 0.27022 | 0.09 | 0.09
| emission factor - Light fuel oil |  |  | 0.2664 | 0.2664 | 0.2664
| emission factor - Biomass solid |  |  | 0.312 | 0 | 0
| emission factor - Natural gas |  |  | 0.20124 | 0.20124 | 0.20124
INPUT TYPE SELECTION | Type: nuts_id_number |  |  | nuts_id_number | nuts_id_number | nuts_id_number
OUTPUT DATA
Please insert the resulting indicators of the module in the yellow fields.
CM - Decentral heating supply |  |  |  |  | Run 1,3 A | Run 1,3 B
| Useful energy demand |  | MWh/year
| Useful energy demand per sqm |  | kWh/m².year |  | 0 | 0
| Heat load (Q max) |  | kW
CM - Decentral heating supply |  |  |  |  | Run 1,3 A | Run 1,3 B
| Levelized cost of heat (EUR/MWh) | Oil boiler
| Levelized cost of heat (EUR/MWh) | Natural gas
| Levelized cost of heat (EUR/MWh) | Biomass_Automatic
| Levelized cost of heat (EUR/MWh) | Biomass_Manual
| Levelized cost of heat (EUR/MWh) | Wood stove
| Levelized cost of heat (EUR/MWh) | HP Air-to-Air
| Levelized cost of heat (EUR/MWh) | HP Air-to-Water
| Levelized cost of heat (EUR/MWh) | HP Brine-to-Water
| Levelized cost of heat (EUR/MWh) | Electric heater
CM - Decentral heating supply
| Energy price (EUR/MWh) | Oil boiler
| Energy price (EUR/MWh) | Natural gas
| Energy price (EUR/MWh) | Biomass_Automatic
| Energy price (EUR/MWh) | Biomass_Manual
| Energy price (EUR/MWh) | Wood stove
| Energy price (EUR/MWh) | HP Air-to-Air
| Energy price (EUR/MWh) | HP Air-to-Water
| Energy price (EUR/MWh) | HP Brine-to-Water
| Energy price (EUR/MWh) | Electric heater
CM - Decentral heating supply
| CAPEX (EUR/yr) | Oil boiler
| CAPEX (EUR/yr) | Natural gas
| CAPEX (EUR/yr) | Biomass_Automatic
| CAPEX (EUR/yr) | Biomass_Manual
| CAPEX (EUR/yr) | Wood stove
| CAPEX (EUR/yr) | HP Air-to-Air
| CAPEX (EUR/yr) | HP Air-to-Water
| CAPEX (EUR/yr) | HP Brine-to-Water
| CAPEX (EUR/yr) | Electric heater
CM - Decentral heating supply
| Energy Costs (EUR/yr) | Oil boiler
| Energy Costs (EUR/yr) | Natural gas
| Energy Costs (EUR/yr) | Biomass_Automatic
| Energy Costs (EUR/yr) | Biomass_Manual
| Energy Costs (EUR/yr) | Wood stove
| Energy Costs (EUR/yr) | HP Air-to-Air
| Energy Costs (EUR/yr) | HP Air-to-Water
| Energy Costs (EUR/yr) | HP Brine-to-Water
| Energy Costs (EUR/yr) | Electric heater
CM - Decentral heating supply
| Final Energy Demand (MWh/yr) | Oil boiler
| Final Energy Demand (MWh/yr) | Natural gas
| Final Energy Demand (MWh/yr) | Biomass_Automatic
| Final Energy Demand (MWh/yr) | Biomass_Manual
| Final Energy Demand (MWh/yr) | Wood stove
| Final Energy Demand (MWh/yr) | HP Air-to-Air
| Final Energy Demand (MWh/yr) | HP Air-to-Water
| Final Energy Demand (MWh/yr) | HP Brine-to-Water
| Final Energy Demand (MWh/yr) | Electric heater
CM - Decentral heating supply
| OPEX (EUR/yr) | Oil boiler
| OPEX (EUR/yr) | Natural gas
| OPEX (EUR/yr) | Biomass_Automatic
| OPEX (EUR/yr) | Biomass_Manual
| OPEX (EUR/yr) | Wood stove
| OPEX (EUR/yr) | HP Air-to-Air
| OPEX (EUR/yr) | HP Air-to-Water
| OPEX (EUR/yr) | HP Brine-to-Water
| OPEX (EUR/yr) | Electric heater
CM - Decentral heating supply
| Total Costs (EUR/yr) | Oil boiler
| Total Costs (EUR/yr) | Natural gas
| Total Costs (EUR/yr) | Biomass_Automatic
| Total Costs (EUR/yr) | Biomass_Manual
| Total Costs (EUR/yr) | Wood stove
| Total Costs (EUR/yr) | HP Air-to-Air
| Total Costs (EUR/yr) | HP Air-to-Water
| Total Costs (EUR/yr) | HP Brine-to-Water
| Total Costs (EUR/yr) | Electric heater
CM - Decentral heating supply
| Annuity Factor | Oil boiler
| Annuity Factor | Natural gas
| Annuity Factor | Biomass_Automatic
| Annuity Factor | Biomass_Manual
| Annuity Factor | Wood stove
| Annuity Factor | HP Air-to-Air
| Annuity Factor | HP Air-to-Water
| Annuity Factor | HP Brine-to-Water
| Annuity Factor | Electric heater
CM - Decentral heating supply
| Efficiency heating system (%) | Oil boiler
| Efficiency heating system (%) | Natural gas
| Efficiency heating system (%) | Biomass_Automatic
| Efficiency heating system (%) | Biomass_Manual
| Efficiency heating system (%) | Wood stove
| Efficiency heating system (%) | HP Air-to-Air
| Efficiency heating system (%) | HP Air-to-Water
| Efficiency heating system (%) | HP Brine-to-Water
| Efficiency heating system (%) | Electric heater
CM - Decentral heating supply
| CO2 Emission (tCO2/yr) | Oil boiler
| CO2 Emission (tCO2/yr) | Natural gas
| CO2 Emission (tCO2/yr) | Biomass_Automatic
| CO2 Emission (tCO2/yr) | Biomass_Manual
| CO2 Emission (tCO2/yr) | Wood stove
| CO2 Emission (tCO2/yr) | HP Air-to-Air
| CO2 Emission (tCO2/yr) | HP Air-to-Water
| CO2 Emission (tCO2/yr) | HP Brine-to-Water
| CO2 Emission (tCO2/yr) | Electric heater

## 2.2.2 Decentral heating supply
Calculating cost of individual heating technologies based on a mixture of the remaining building typologies.
|  |  | Run | 1.3 | A | B |  |  |  |  | Run |  | C | D | E | F | G | H | I | J
CM ¦ 2.2.2 Decentral heating supply
INPUT DATA
| Parameter | Subparameter | Unit | Default data | Run 1,3 C | Run 1,3 D | Run 1,3 E | Run 1,3 F | Run 1,3 G | Run 1,3 H | Run 1,3 I | Run 1,3 J
INPUTS | Building age |  |  | Before 1945 | 1970 - 1979 | 2000 - 2010 | 1970 - 1979 | 2000 - 2010 | 1970 - 1979 | 2000 - 2010 | 1970 - 1979 | 2000 - 2010
| interest rate |  | 1 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03
| Gross Floor Area |  | m² | 1000 | 1584 | 1888 | 4246 | 5245 | 650 | 650 | 490 | 490
| Building category |  |  | Multifamily houses | Multifamily houses | Multifamily houses | Apartment blocks | Apartment blocks | Hotels and Restaurants | Hotels and Restaurants | Offices | Offices
| year |  |  | 2015 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050
| savings for space heating |  |  | 0 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3
BASIC INPUTS | emission factor - Electricity |  |  | 0.27022 | 0.09 | 0.09 | 0.09 | 0.09 | 0.09 | 0.09 | 0.09 | 0.09
| emission factor - Light fuel oil |  |  | 0.2664 | 0.2664 | 0.2664 | 0.2664 | 0.2664 | 0.2664 | 0.2664 | 0.2664 | 0.2664
| emission factor - Biomass solid |  |  | 0.312 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| emission factor - Natural gas |  |  | 0.20124 | 0.20124 | 0.20124 | 0.20124 | 0.20124 | 0.20124 | 0.20124 | 0.20124 | 0.20124
INPUT TYPE SELECTION | Type: nuts_id_number |  |  | nuts_id_number | nuts_id_number | nuts_id_number | nuts_id_number | nuts_id_number | nuts_id_number | nuts_id_number | nuts_id_number | nuts_id_number
OUTPUT DATA
Please insert the resulting indicators of the module in the yellow fields.
CM - Decentral heating supply |  |  |  |  | Run 1,3 C | Run 1,3 D | Example | Example | Example | Example | Example | Example
| Levelized cost of heat (EUR/MWh) | Oil boiler |  |  |  |  | 80.52 | 80.33 | 90.58 | 90.42 | 92.63 | 92.56
| Levelized cost of heat (EUR/MWh) | Natural gas |  |  |  |  | 48.84 | 48.7 | 55.86 | 55.75 | 57.29 | 57.24
| Levelized cost of heat (EUR/MWh) | Biomass_Automatic |  |  |  |  | 31.24 | 30.86 | 49.17 | 48.93 | 52.46 | 52.35
| Levelized cost of heat (EUR/MWh) | HP Air-to-Water |  |  |  |  | 50.67 | 50.21 | 69.24 | 69.05 | 72.1 | 72.01
| Levelized cost of heat (EUR/MWh) | HP Brine-to-Water |  |  |  |  | 48.43 | 47.84 | 72.1 | 71.86 | 75.67 | 75.56
| Levelized cost of heat (EUR/MWh) | Electric heater |  |  |  |  | 172.28 | 172.24 | 173.58 | 173.58 | 173.73 | 173.73
CM - Decentral heating supply
| Energy price (EUR/MWh) | Oil boiler |  |  |  |  | 71.66 | 71.66 | 71.66 | 71.66 | 71.66 | 71.66
| Energy price (EUR/MWh) | Natural gas |  |  |  |  | 47.89 | 47.89 | 47.89 | 47.89 | 47.89 | 47.89
| Energy price (EUR/MWh) | Biomass_Automatic |  |  |  |  | 22.13 | 22.13 | 22.13 | 22.13 | 22.13 | 22.13
| Energy price (EUR/MWh) | HP Air-to-Water |  |  |  |  | 171.15 | 171.15 | 171.15 | 171.15 | 171.15 | 171.15
| Energy price (EUR/MWh) | HP Brine-to-Water |  |  |  |  | 171.15 | 171.15 | 171.15 | 171.15 | 171.15 | 171.15
| Energy price (EUR/MWh) | Electric heater |  |  |  |  | 171.15 | 171.15 | 171.15 | 171.15 | 171.15 | 171.15
CM - Decentral heating supply
| CAPEX (EUR/yr) | Oil boiler |  |  |  |  | 908.58 | 938.6 | 370.3 | 375.12 | 328.45 | 330.06
| CAPEX (EUR/yr) | Natural gas |  |  |  |  | 584.89 | 607.5 | 205.13 | 208.25 | 178.33 | 179.35
| CAPEX (EUR/yr) | Biomass_Automatic |  |  |  |  | 2108.12 | 2208.61 | 582.68 | 593.59 | 490.7 | 494.14
| CAPEX (EUR/yr) | HP Air-to-Water |  |  |  |  | 2964.59 | 3112.3 | 774.17 | 789.31 | 647.03 | 651.78
| CAPEX (EUR/yr) | HP Brine-to-Water |  |  |  |  | 4320.01 | 4535.25 | 1128.13 | 1150.19 | 942.86 | 949.77
| CAPEX (EUR/yr) | Electric heater |  |  |  |  | 502.28 | 536.73 | 80.43 | 82.58 | 62.97 | 63.6
CM - Decentral heating supply
| Energy Costs (EUR/yr) | Oil boiler |  |  |  |  | 36157.25 | 40178.54 | 3098.35 | 3177 | 2373.14 | 2396.2
| Energy Costs (EUR/yr) | Natural gas |  |  |  |  | 21796.67 | 24220.83 | 1867.78 | 1915.19 | 1430.6 | 1444.5
| Energy Costs (EUR/yr) | Biomass_Automatic |  |  |  |  | 11672.03 | 12970.15 | 1000.19 | 1025.58 | 766.08 | 773.52
| Energy Costs (EUR/yr) | HP Air-to-Water |  |  |  |  | 19862.76 | 22071.83 | 1702.06 | 1745.27 | 1303.67 | 1316.34
| Energy Costs (EUR/yr) | HP Brine-to-Water |  |  |  |  | 17655.79 | 19619.41 | 1512.94 | 1551.35 | 1158.82 | 1170.08
| Energy Costs (EUR/yr) | Electric heater |  |  |  |  | 79451.03 | 88287.33 | 6808.23 | 6981.07 | 5214.68 | 5265.35
CM - Decentral heating supply
| Final Energy Demand (MWh/yr) | Oil boiler |  |  |  |  | 504.58 | 560.7 | 43.24 | 44.34 | 33.12 | 33.44
| Final Energy Demand (MWh/yr) | Natural gas |  |  |  |  | 455.11 | 505.73 | 39 | 39.99 | 29.87 | 30.16
| Final Energy Demand (MWh/yr) | Biomass_Automatic |  |  |  |  | 527.52 | 586.19 | 45.2 | 46.35 | 34.62 | 34.96
| Final Energy Demand (MWh/yr) | HP Air-to-Water |  |  |  |  | 116.05 | 128.96 | 9.94 | 10.2 | 7.62 | 7.69
| Final Energy Demand (MWh/yr) | HP Brine-to-Water |  |  |  |  | 103.16 | 114.63 | 8.84 | 9.06 | 6.77 | 6.84
| Final Energy Demand (MWh/yr) | Electric heater |  |  |  |  | 464.22 | 515.84 | 39.78 | 40.79 | 30.47 | 30.76
CM - Decentral heating supply
| OPEX (EUR/yr) | Oil boiler |  |  |  |  | 311.46 | 321.72 | 134.56 | 136.15 | 120.68 | 121.22
| OPEX (EUR/yr) | Natural gas |  |  |  |  | 288.58 | 295.56 | 149.24 | 150.66 | 136.65 | 137.14
| OPEX (EUR/yr) | Biomass_Automatic |  |  |  |  | 721.45 | 738.89 | 373.09 | 376.66 | 341.63 | 342.86
| OPEX (EUR/yr) | HP Air-to-Water |  |  |  |  | 695.08 | 718.52 | 278.14 | 281.84 | 246.11 | 247.34
| OPEX (EUR/yr) | HP Brine-to-Water |  |  |  |  | 508.04 | 523.09 | 226.92 | 229.57 | 203.75 | 204.65
| OPEX (EUR/yr) | Electric heater |  |  |  |  | 22.42 | 22.68 | 16.29 | 16.36 | 15.61 | 15.64
CM - Decentral heating supply
| Total Costs (EUR/yr) | Oil boiler |  |  |  |  | 37377.3 | 41438.86 | 3603.21 | 3688.28 | 2822.27 | 2847.47
| Total Costs (EUR/yr) | Natural gas |  |  |  |  | 22670.14 | 25123.89 | 2222.14 | 2274.11 | 1745.58 | 1760.99
| Total Costs (EUR/yr) | Biomass_Automatic |  |  |  |  | 14501.6 | 15917.65 | 1955.96 | 1995.82 | 1598.4 | 1610.52
| Total Costs (EUR/yr) | HP Air-to-Water |  |  |  |  | 23522.44 | 25902.65 | 2754.37 | 2816.42 | 2196.81 | 2215.45
| Total Costs (EUR/yr) | HP Brine-to-Water |  |  |  |  | 22483.84 | 24677.75 | 2867.98 | 2931.11 | 2305.42 | 2324.5
| Total Costs (EUR/yr) | Electric heater |  |  |  |  | 79975.73 | 88846.73 | 6904.95 | 7080.02 | 5293.26 | 5344.58
CM - Decentral heating supply
| Annuity Factor | Oil boiler |  |  |  |  | 14.88 | 14.88 | 14.88 | 14.88 | 14.88 | 14.88
| Annuity Factor | Natural gas |  |  |  |  | 17.41 | 17.41 | 17.41 | 17.41 | 17.41 | 17.41
| Annuity Factor | Biomass_Automatic |  |  |  |  | 14.88 | 14.88 | 14.88 | 14.88 | 14.88 | 14.88
| Annuity Factor | HP Air-to-Water |  |  |  |  | 14.88 | 14.88 | 14.88 | 14.88 | 14.88 | 14.88
| Annuity Factor | HP Brine-to-Water |  |  |  |  | 14.88 | 14.88 | 14.88 | 14.88 | 14.88 | 14.88
| Annuity Factor | Electric heater |  |  |  |  | 19.6 | 19.6 | 19.6 | 19.6 | 19.6 | 19.6
CM - Decentral heating supply
| Efficiency heating system (%) | Oil boiler |  |  |  |  | 92 | 92 | 92 | 92 | 92 | 92
| Efficiency heating system (%) | Natural gas |  |  |  |  | 102 | 102 | 102 | 102 | 102 | 102
| Efficiency heating system (%) | Biomass_Automatic |  |  |  |  | 88 | 88 | 88 | 88 | 88 | 88
| Efficiency heating system (%) | HP Air-to-Water |  |  |  |  | 400 | 400 | 400 | 400 | 400 | 400
| Efficiency heating system (%) | HP Brine-to-Water |  |  |  |  | 450 | 450 | 450 | 450 | 450 | 450
| Efficiency heating system (%) | Electric heater |  |  |  |  | 100 | 100 | 100 | 100 | 100 | 100
CM - Decentral heating supply
| CO2 Emission (tCO2/yr) | Oil boiler |  |  |  |  | 134.42 | 149.37 | 11.52 | 11.81 | 8.82 | 8.91
| CO2 Emission (tCO2/yr) | Natural gas |  |  |  |  | 91.59 | 101.77 | 7.85 | 8.05 | 6.01 | 6.07
| CO2 Emission (tCO2/yr) | Biomass_Automatic |  |  |  |  | 164.59 | 182.89 | 14.1 | 14.46 | 10.8 | 10.91
| CO2 Emission (tCO2/yr) | HP Air-to-Water |  |  |  |  | 10.44 | 11.61 | 0.9 | 0.92 | 0.69 | 0.69
| CO2 Emission (tCO2/yr) | HP Brine-to-Water |  |  |  |  | 9.28 | 10.32 | 0.8 | 0.82 | 0.61 | 0.62
| CO2 Emission (tCO2/yr) | Electric heater |  |  |  |  | 41.78 | 46.43 | 3.58 | 3.67 | 2.74 | 2.77

## 2.2.3 Decentral heating supply
Calculating the cost of individual heating technologies based on a mixture of ten different building typologies.
|  |  | Run | 1.3 | A | B |  |  |  |  | Run |  | C | D | E | F | G | H | I | J
CM ¦ 2.2.3 Decentral heating supply | bar: C to D
Please fill in the total final energy demand (from the results of the CM - Demand Projection) and choose a price of carbon emissions for the reference case in the yellow fields.
INPUT DATA
| Parameter | Subparameter | Unit
| Heat demand total (Final energy demand) |  | GWh/yr
| CO2 price |  | EUR/tCO2
| Parameter | Single family- Terraced houses | Single family- Terraced houses | Multifamily houses | Multifamily houses | Apartment blocks | Apartment blocks | Hotels and Restaurants | Hotels and Restaurants | Offices | Offices
|  | 1970 - 1979 | 2000 - 2010 | 1970 - 1979 | 2000 - 2010 | 1970 - 1979 | 2000 - 2010 | 1970 - 1979 | 2000 - 2010 | 1970 - 1979 | 2000 - 2010 | Check
| Share of building type on the total useful energy demand for heat in 2050 | [10 empty] | 0
Share of total useful heat demand in the building type supplied by the different individual heating technologies:
| Oil boiler | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Natural gas | 0.1 | 0.1 | 0.2 | 0.1 | 0.2 | 0.1 | 0.2 | 0.1 | 0.2 | 0.1
| Biomass_Automatic | 0.2 | 0.2 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05
| Biomass_Manual | 0.05 | 0.05
| Wood stove | 0.1 | 0.05
| HP Air-to-Air | 0.2 | 0.05
| HP Air-to-Water | 0.15 | 0.25 | 0.35 | 0.4 | 0.35 | 0.4 | 0.4 | 0.4 | 0.35 | 0.4
| HP Brine-to-Water | 0.15 | 0.25 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05
| Electric heater | 0.05 | 0.05 | 0.35 | 0.4 | 0.35 | 0.4 | 0.3 | 0.4 | 0.35 | 0.4
| check(1) | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
OUTPUT DATA
CM - Decentral heating supply
| Efficiency heating system (%) | Oil boiler | % | 93
| Efficiency heating system (%) | Natural gas | % | 98
| Efficiency heating system (%) | Biomass_Automatic | % | 88
| Efficiency heating system (%) | Biomass_Manual | % | 88
| Efficiency heating system (%) | Wood stove | % | 75
| Efficiency heating system (%) | HP Air-to-Air | % | 400
| Efficiency heating system (%) | HP Air-to-Water | % | 400
| Efficiency heating system (%) | HP Brine-to-Water | % | 450
| Efficiency heating system (%) | Electric heater | % | 100
This data should be later copied to the Scenario Assessment spread sheet.
CM - Decentral heating supply
| costs | capex | EUR/yr | #DIV/0!
|  | opex | EUR/yr | #DIV/0!
|  | energy | EUR/yr | #DIV/0!
|  | CO2 | EUR/yr | #DIV/0!
| CO2 emissions | Oil boiler | tCO2/yr | #DIV/0!
|  | Natural gas | tCO2/yr | #DIV/0!
|  | Biomass_Automatic | tCO2/yr | #DIV/0!
|  | Biomass_Manual | tCO2/yr | #DIV/0!
|  | Wood stove | tCO2/yr | #DIV/0!
|  | HP Air-to-Air | tCO2/yr | #DIV/0!
|  | HP Air-to-Water | tCO2/yr | #DIV/0!
|  | HP Brine-to-Water | tCO2/yr | #DIV/0!
|  | Electric heater | tCO2/yr | #DIV/0!
| final energy | Oil boiler | MWh/yr | #DIV/0!
|  | Natural gas | MWh/yr | #DIV/0!
|  | Biomass_Automatic | MWh/yr | #DIV/0!
|  | Biomass_Manual | MWh/yr | #DIV/0!
|  | Wood stove | MWh/yr | #DIV/0!
|  | HP Air-to-Air | MWh/yr | #DIV/0!
|  | HP Air-to-Water | MWh/yr | #DIV/0!
|  | HP Brine-to-Water | MWh/yr | #DIV/0!
|  | Electric heater | MWh/yr | #DIV/0!
| useful energy | Oil boiler | MWh/yr | 0
|  | Natural gas | MWh/yr | 0
|  | Biomass_Automatic | MWh/yr | 0
|  | Biomass_Manual | MWh/yr | 0
|  | Wood stove | MWh/yr | 0
|  | HP Air-to-Air | MWh/yr | 0
|  | HP Air-to-Water | MWh/yr | 0
|  | HP Brine-to-Water | MWh/yr | 0
|  | Electric heater | MWh/yr | 0
SUMs
| total CO2 emissions |  | tCO2/yr | #DIV/0!
| final energy |  | MWh/yr | #DIV/0!
| useful energy |  | MWh/yr | 0
| costs |  | EUR/yr | #DIV/0!
| CO2 costs |  | EUR/yr | #DIV/0!
| total costs |  | EUR/yr | #DIV/0!
| Overall LCOH |  | EUR/MWh | #DIV/0!
Intermediate calculations. DO NOT ADJUST!
| Parameter | Subparameter | Unit | Default data | Run 1,3 A | Run 1,3 B | Run 1,3 C | Run 1,3 D | Run 1,3 E | Run 1,3 F | Run 1,3 G | Run 1,3 H | C: Run 1,3 I; D: Run 1,3 J
INPUTS | Building age |  |  | Before 1945 | 1970 - 1979 | 2000 - 2010 | 1970 - 1979 | 2000 - 2010 | 1970 - 1979 | 2000 - 2010 | 1970 - 1979 | 2000 - 2010 | C: 1970 - 1979; D: 2000 - 2010
| interest rate |  | 1 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | C: 0.03; D: 0.03
| Gross Floor Area |  | m² | 1000 | 131 | 173 | 1584 | 1888 | 4246 | 5245 | 650 | 650 | C: 490; D: 490
| Building category |  |  | Multifamily houses | Single family- Terraced houses | Single family- Terraced houses | Multifamily houses | Multifamily houses | Apartment blocks | Apartment blocks | Hotels and Restaurants | Hotels and Restaurants | C: Offices; D: Offices
| year |  |  | 2015 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | 2050 | C: 2050; D: 2050
| savings for space heating |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | C: 0; D: 0
BASIC INPUTS | emission factor - Electricity |  |  | 0.27022 | 0.09 | 0.09 | 0.09 | 0.09 | 0.09 | 0.09 | 0.09 | 0.09 | C: 0.09; D: 0.09
| emission factor - Light fuel oil |  |  | 0.2664 | 0.2664 | 0.2664 | 0.2664 | 0.2664 | 0.2664 | 0.2664 | 0.2664 | 0.2664 | C: 0.2664; D: 0.2664
| emission factor - Biomass solid |  |  | 0.312 | 0.312 | 0.312 | 0.312 | 0.312 | 0.312 | 0.312 | 0.312 | 0.312 | C: 0.312; D: 0.312
| emission factor - Natural gas |  |  | 0.20124 | 0.20124 | 0.20124 | 0.20124 | 0.20124 | 0.20124 | 0.20124 | 0.20124 | 0.20124 | C: 0.20124; D: 0.20124
INPUT TYPE SELECTION | Type: nuts_id_number |  |  | nuts_id_number | nuts_id_number | nuts_id_number | nuts_id_number | nuts_id_number | nuts_id_number | nuts_id_number | nuts_id_number | nuts_id_number | C: nuts_id_number; D: nuts_id_number
Check | Parameter | SUMs | Unit | Category | bar: C to D
0 | check(1) |  |  | building share by a type: | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | SUM per technology |  | heat supply share for individual heating technologies:
|  | 0 | 1 | Oil boiler | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | C: 0; D: 0
Average efficiency (useful/final) in the default data: | 0.9 | 1.4 | 1 | Natural gas | 0.1 | 0.1 | 0.2 | 0.1 | 0.2 | 0.1 | 0.2 | 0.1 | C: 0.2; D: 0.1
|  | 0.8 | 1 | Biomass_Automatic | 0.2 | 0.2 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | C: 0.05; D: 0.05
|  | 0.1 | 1 | Biomass_Manual | 0.05 | 0.05 | 0 | 0 | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | 0.15 | 1 | Wood stove | 0.1 | 0.05 | 0 | 0 | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | 0.25 | 1 | HP Air-to-Air | 0.2 | 0.05 | 0 | 0 | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | 3.45 | 1 | HP Air-to-Water | 0.15 | 0.25 | 0.35 | 0.4 | 0.35 | 0.4 | 0.4 | 0.4 | C: 0.35; D: 0.4
|  | 0.8 | 1 | HP Brine-to-Water | 0.15 | 0.25 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | 0.05 | C: 0.05; D: 0.05
|  | 3.05 | 1 | Electric heater | 0.05 | 0.05 | 0.35 | 0.4 | 0.35 | 0.4 | 0.3 | 0.4 | C: 0.35; D: 0.4
|  |  |  | check(1) | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | bar: C to D
|  | SUM per technology |  | useful energy for all buildings within a building class (MWh/yr):
|  | 0 | MWh/yr | Oil boiler | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | 0 | MWh/yr | Natural gas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | 0 | MWh/yr | Biomass_Automatic | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | 0 | MWh/yr | Biomass_Manual | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | 0 | MWh/yr | Wood stove | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | 0 | MWh/yr | HP Air-to-Air | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | 0 | MWh/yr | HP Air-to-Water | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | 0 | MWh/yr | HP Brine-to-Water | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | C: 0; D: 0
0 | sum | 0 | MWh/yr | Electric heater | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | C: 0; D: 0
useful energy per one building class (MWh/yr):
[5 empty] | 0 | 0 | 0 | 0 | 464.22 | 515.84 | 39.78 | 40.79 | C: 30.47; D: 30.76
|  | SUM per technology |  | count of buildings:
|  | #DIV/0! | 1 | Oil boiler | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | 1 | Natural gas | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | 1 | Biomass_Automatic | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | 1 | Biomass_Manual | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | 1 | Wood stove | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | 1 | HP Air-to-Air | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | 1 | HP Air-to-Water | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | 1 | HP Brine-to-Water | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
#DIV/0! | sum | #DIV/0! | 1 | Electric heater | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | SUM per technology |  | CAPEX:
|  | #DIV/0! | EUR/yr | Oil boiler | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | EUR/yr | Natural gas | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | EUR/yr | Biomass_Automatic | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | EUR/yr | Biomass_Manual | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | EUR/yr | Wood stove | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | EUR/yr | HP Air-to-Air | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | EUR/yr | HP Air-to-Water | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | EUR/yr | HP Brine-to-Water | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
#DIV/0! | sum | #DIV/0! | EUR/yr | Electric heater | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | SUM per technology |  | OPEX:
|  | #DIV/0! | EUR/yr | Oil boiler | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | EUR/yr | Natural gas | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | EUR/yr | Biomass_Automatic | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | EUR/yr | Biomass_Manual | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | EUR/yr | Wood stove | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | EUR/yr | HP Air-to-Air | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | EUR/yr | HP Air-to-Water | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | EUR/yr | HP Brine-to-Water | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
#DIV/0! | sum | #DIV/0! | EUR/yr | Electric heater | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | SUM per technology |  | energy costs:
|  | #DIV/0! | EUR/yr | Oil boiler | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | EUR/yr | Natural gas | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | EUR/yr | Biomass_Automatic | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | EUR/yr | Biomass_Manual | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | EUR/yr | Wood stove | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | EUR/yr | HP Air-to-Air | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | EUR/yr | HP Air-to-Water | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | EUR/yr | HP Brine-to-Water | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
#DIV/0! | sum | #DIV/0! | EUR/yr | Electric heater | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | SUM per technology |  | total costs:
|  | #DIV/0! | EUR/yr | Oil boiler | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | EUR/yr | Natural gas | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | EUR/yr | Biomass_Automatic | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | EUR/yr | Biomass_Manual | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | EUR/yr | Wood stove | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | EUR/yr | HP Air-to-Air | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | EUR/yr | HP Air-to-Water | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | EUR/yr | HP Brine-to-Water | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
#DIV/0! | sum | #DIV/0! | EUR/yr | Electric heater | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | SUM per technology |  | co2:
|  | #DIV/0! | tCO2/yr | Oil boiler | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | tCO2/yr | Natural gas | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | tCO2/yr | Biomass_Automatic | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | tCO2/yr | Biomass_Manual | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | tCO2/yr | Wood stove | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | tCO2/yr | HP Air-to-Air | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | tCO2/yr | HP Air-to-Water | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | tCO2/yr | HP Brine-to-Water | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
#DIV/0! | sum | #DIV/0! | tCO2/yr | Electric heater | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | SUM per technology |  | final energy:
|  | #DIV/0! | MWh/yr | Oil boiler | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | MWh/yr | Natural gas | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | MWh/yr | Biomass_Automatic | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | MWh/yr | Biomass_Manual | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | MWh/yr | Wood stove | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | MWh/yr | HP Air-to-Air | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | MWh/yr | HP Air-to-Water | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
|  | #DIV/0! | MWh/yr | HP Brine-to-Water | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
#DIV/0! | sum | #DIV/0! | MWh/yr | Electric heater | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | C: 0; D: 0
#DIV/0!